## CalcConsistencyRules
Value Label | Tolerance (%) | Notes | Active (Y/N)
Qin = | 5 | Sump-pit inflow rate, stated once per pump-sizing block ("<Type> Reference <TAG>"). Directly grounded in a real found bug (docs/PROCEDURE.md #23): F12-04-233's calc reuses the tag "SMP-01" for two unrelated blocks -- the first states "Qin = 0.189274448 L/s", the second (which should have been tagged SMP-02) states "Qin = 1.083333333 L/s", an 82% disagreement for what the calc claims is the same pump. | Y
Flow Rate | 5 | DEACTIVATED after testing against the real F12-04-233 calc (docs/PROCEDURE.md #23): "Flow Rate" is too generic for this firm's calc format -- within a single DHW-cylinder block it legitimately labels multiple DIFFERENT quantities (a per-fixture-type subtotal, e.g. "Total Flow Rate (L/hr) 38", and a separate grand total, "Total Hot Water Flow Rate (L/hr) 425.6"), not one restated value -- so it produced a false positive (38 vs 425.6, 91% "disagreement") on a real, correct calc. Left inactive rather than guessing a narrower keyword that might not generalize; a future refinement could scope this per calc-sheet-type instead of one firm-wide keyword. | N
Total Dynamic Head¦TOTAL HEAD LOSS¦Total Head Loss | 5 | Same concept, three different real phrasings seen across two real projects (F12-04-233 uses "TOTAL HEAD LOSS"; F-04-00-130 Eng. Obaidat Villa uses "Total Head Loss"; "Total Dynamic Head" is the general industry term, kept as a third alternative). Flags if the same pump tag states two different head values under any of these labels within one document. | Y